## Лист1
SOC=35%
DOD, Ah SOH, %
Balancing efficiency, % Maximum capacity, Ah Effective capacity, Ah
DOD, Ah SOH, %
Balancing efficiency, % Maximum capacity, Ah Effective capacity, Ah
Coulomb counter, Ah
Logic count |9
Logic t*,*, °C Logic t*,,,, °C
count
108
12.4 @6 19.1 @4

## Лист2
SOC=35%
DOD, Ah
SOH, %
Balancing efficiency, %
Maximum capacity, Ah
Effective capacity, Ah
‘Coulomb counter, Ah

## Лист3
SOC | % | 35 | 4F | 00 | 42 | 07 | 0x420007 | int8 | SIGNED16 | UNSIGNED8
DOD | Ah | 40.595 | 43 | 70 | 40 | 09 | 0x407009 | float | UNSIGNED16 | FLOAT
SOH | % | 100 | 43 | 70 | 40 | 08 | 0x407008 | float | SIGNED8 | FLOAT
Balancing efficiency | % | 94 | 43 | 70 | 40 | 07 | 0x407007 | float | UNSIGNED8 | FLOAT
Maximum capacity | Ah | 105.0 | 43 | 00 | 25 | 01 | 0x250001 | float | SIGNED32 | FLOAT
Effective capacity | Ah | 105.0 | 43 | 70 | 40 | 06 | 0x407006 | float | UNSIGNED32 | FLOAT
|  |  | 43 | 70 | 40 | 3A | 0x40703A | float | FLOAT | FLOAT
Coulomb counter | Ah | -5.202 | 43 | 70 | 40 | 3B | 0x40703B | float |  | FLOAT
Logic count |  | 9 | 4B | 70 | 40 | 02 | 0x407002 | int16 |  | UNSIGNED16
Cell count |  | 108 | 4B | 70 | 40 | 03 | 0x407003 | int16 |  | UNSIGNED16
Logic tmin | °C | 12.4 | 43 | 70 | 40 | 0A | 0x40700A | float |  | FLOAT
number Logic tmin |  | @6 | 4B | 70 | 40 | 0B | 0x40700B | int16 |  | UNSIGNED16
Logic tmax | °C | 19.1 | 43 | 70 | 40 | 0C | 0x40700C | float |  | FLOAT
number Logic tmax |  | @4 | 4B | 70 | 40 | 0D | 0x40700D | int16 |  | UNSIGNED16
|  | 4 | 4B | 70 | 40 | 36 | 0x407036 | int16 |  | UNSIGNED16
|  | 2.1469293771920522e-41 | 43 | 70 | 40 | 37 | 0x407037 | float |  | FLOAT
Cell tmin | °C | 10.6 @4#1 | 43 | 70 | 40 | 0F | 0x40700F | float |  | FLOAT
Cell tmin number module |  | 4 | 4B | 70 | 40 | 10 | 0x407010 | int16 |  | UNSIGNED16
Cell tmin number |  | 1 | 4B | 70 | 40 | 11 | 0x407011 | int16 |  | UNSIGNED16
Cell tmax | °C | 11.4 @1#1 | 43 | 70 | 40 | 12 | 0x407012 |  |  | FLOAT
Cell tmax number module |  |  | 4B | 70 | 40 | 13 | 0x407013 |  |  | UNSIGNED16
Cell tmax number |  |  | 4B | 70 | 40 | 14 | 0x407014 |  |  | UNSIGNED16
Cell Umin | V | 3.270 @9#12 | 43 | 70 | 40 | 15 | 0x407015 |  |  | FLOAT
Cell Umin number module |  |  | 4B | 70 | 40 | 16 | 0x407016 |  |  | UNSIGNED16
Cell Umin number |  |  | 4B | 70 | 40 | 17 | 0x407017 |  |  | UNSIGNED16
Cell Umax | V | 3.277 @3#2 | 43 | 70 | 40 | 18 | 0x407018 |  |  | FLOAT
Cell Umax number module |  |  | 4B | 70 | 40 | 19 | 0x407019 |  |  | UNSIGNED16
Cell Umax number |  |  | 4B | 70 | 40 | 1A | 0x40701A |  |  | UNSIGNED16
Voltage | V | 353.648 | 43 | 70 | 40 | 04 | 0x407004 |  |  | FLOAT
Resistance | hm | 0.054 | 43 | 70 | 40 | 05 | 0x407005 |  |  | FLOAT
Current | A | -1.238 | 43 | 14 | 40 | 00 | 0x401400 |  |  | FLOAT
0x
Device name |  | BMS Main NG |  |  |  |  | 0x
Hardware version |  | 2.1 |  |  |  |  | 0x
Software version |  | 1.57.4 |  |  |  |  | 0x
Serial number |  | 3654 |  |  |  |  | 0x
0x

## Лист4
41 | FF | 2F | 00 | 11 | 00 | 00 | 00 | 65 | 255 | 47 | 0 | 17 | 0 | 0 | 0 | A | я | / |  | 
00 | 30 | 30 | 33 | 36 | 35 | 34 | 00 | 0 | 48 | 48 | 51 | 54 | 53 | 52 | 0 |  | 0 | 0 | 3 | 6 | 5 | 4
10 | 00 | 00 | 00 | 00 | 00 | 00 | 00 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 
09 | 00 | 00 | 00 | 00 | 00 | 00 | 00 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | 60 | 40 | 01 | 00 | 00 | 00 | 00 | 96 | 96 | 64 | 1 | 0 | 0 | 0 | 0 | ` | ` | @ | 
41 | 8 | 10 | 0 | 0C | 0 | 0 | 0 | 65 | 8 | 16 | 0 | 12 | 0 | 0 | 0 | A |  | 
0 | 42 | 4D | 53 | 20 | 4D | 61 | 69 | 0 | 66 | 77 | 83 | 32 | 77 | 97 | 105 |  | B | M | S |  | M | a | i
15 | 6E | 20 | 4E | 47 | 0 | 0 | 0 | 21 | 110 | 32 | 78 | 71 | 0 | 0 | 0 |  | n |  | N | G
41 | 9 | 10 | 0 | 0B | 0 | 0 | 0 | 65 | 9 | 16 | 0 | 11 | 0 | 0 | 0 | A |  | 
0 | 32 | 2E | 31 | 0 | 0 | 0 | 0 | 0 | 50 | 46 | 49 | 0 | 0 | 0 | 0 |  | 2 | . | 1
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 
41 | 0A | 10 | 0 | 0B | 0 | 0 | 0 | 65 | 10 | 16 | 0 | 11 | 0 | 0 | 0 | A |  | 
0 | 31 | 2E | 35 | 37 | 2E | 34 | 0 | 0 | 49 | 46 | 53 | 55 | 46 | 52 | 0 |  | 1 | . | 5 | 7 | . | 4
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 